
# Zymo One-step PCR Inhibitor Removal NOAA Protocol



1. Place **Zymo-Spin III-HRC Filter** in a clean collection tube and add **600µl Prep Solution**. Centrifuge at 8,000g for 3 minutes
   * Matrix may seem dehydrated or powdery and this is normal!!!
2. Transfer eluted DNA to prepared **Zymo-Spin III-HRC spin filter** in a clean 1.5ml microcentrifuge tube and centrifuge at EXACTLY 16,000g for 3 minutes.

Eluted DNA is ready for PCR and downstream applications.